# *ANNEX II + III:* TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

**Contract title: Delivery of equipment for alarm system p 1 /…**

**Publication reference:** 035-SUPPLY-Suloglu-05

**Columns 1-2 should be completed by the contracting authority**

**Columns 3-4 should be completed by the tenderer**

**Column 5 is reserved for the evaluation committee**

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

* Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),
* Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)
* Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offeredspecifications.

| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered** | **4.**  **Notes, remarks,  ref to documentation** | **5.**  **Evaluation committee’s notes** |
| --- | --- | --- | --- | --- |
| **1** | **Fixed satellite phone unit**   * Transmission of at least voice calls * Satellite antenna unit (if necessary) * Coverage on the territory of the Republic of Turkey * Power cable to be included * Handset to be included * Endurance of extreme weather conditions |  |  |  |
| **2** | **UPS**   * Power capacity: 1 KVA * Rack mountable * Suitable for ensuring uninterrupted power supply to items, described in position 1 |  |  |  |
| **3** | **Cabinet**   * Wall-type * 9U |  |  |  |
| **4** | **Ancillery services** |  |  |  |
| **4.1** | Activation fee   * For usage on the territory of the Republic of Turkey |  |  |  |
| **4.2** | Plan   * Minimum one-year term * Minimum 50 min/month |  |  |  |
| **4.3** | ICTA taxes   * Taxes in compliance with the requirements of the Information and Communication Technologies Authority for the usage of fixed satellite phone units * Minimum one-year term |  |  |  |